## C1-B-1
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
METHOD: EDDY CURRENT
LIST OF:
SECTION:

## C1
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | SLIDING PROBE Ǿ 6.2mm 2KHZ - 200KHZ | N-A | SPO- 2404 | 980182 | NORTEC | C1-A-1 | 1 | NO | GEN. | 13/09/2010
2 | SLIDING PROBE | N-A | PKA-9H-1092-02-1 | 5035 | ROHMAN | C1-A-2 | 1 | NO | GEN. | 13/11/1997
3 | SLIDING PROBE 100HZ - 1KHZ | N-A | NEC 4166 | N-A | ROHMAN | C1-A-3 | 1 | NO | GEN. | 13/09/2010
4 | SLIDING PROBE Ǿ 8.3mm 700HZ - 80KHZ | N-A | SP06183 | F02065 | NORTEC | C1-A-4 | 1 | NO | GEN. | 13/11/1997
5 | SLIDING PROBE Ǿ 11mm ABSOLUTE 3KHZ-500 KHZ | N-A | PLA 33-11 | 92128 | ROHMAN | C1-A-5 | 1 | NO | GEN. | 09//10/1994
6 | SLIDING PROBE Ǿ 12.5mm WITH CABLE 1 KHZ- 40 KHZ | N-A | APB 12.5/S | N-A | INSP- INSTRUR | C1-A-6 | 2 | NO | GEN. | 1976-05-02
7 | SLIDING PROBE Ǿ 13mm WITH CABLE 500HZ - 10KHZ | N-A | SPO2136 | 972619 | NORTEC | C1-A-7 | 1 | NO | GEN. | 13/11/1997
8 | SLIDING PROBE Ǿ 15mm REFLECTION 100HZ-20KHZ | N-A | SPO2134 | 972393 | NORTEC | C1-A-8 | 1 | NO | GEN. | 14/11/1997
9 | SLIDING PROBE Ǿ 16mm 600HZ - 50KHZ | N-A | APG 16-60-50 | N-A | INSP- INSTRUR | C1-A-9 | 1 | NO | GEN. | 1979-05-02
10 | SLIDING PROBE Ǿ 17mm 600HZ - 100KHZ | N-A | APGO /17/1/100 | N-A | INSP- INSTRUR | C1-A-10 | 2 | NO | GEN. | 1979-05-02
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
11 | SLIDING PROBE Ǿ 19mm 100HZ - 2KHZ | N-A | 9213549 | 980234 | NORTEC | C1-A-11 | 1 | NO | GEN. | 13/11/1997
12 | SLIDING PROBE Ǿ 19mm 100HZ - 5KHZ | N-A | 9213555 | 980192 | NORTEC | C1-A-12 | 1 | NO | GEN. | 13/11/1997
13 | SLIDING PROBE Ǿ 19mm WITH CABLE - BRIDGE ABSOLUTE 1KHZ | N-A | SP-1 | 950857 | NORTEC | C1-A-13 | 1 | NO | GEN. | 13/11/1997
14 | SLIDING PROBE Ǿ 19mm WITH CABLE - BRIDGE ABSOLUTE 2KHZ-5KHZ | N-A | SP-2 | 980180 | NORTEC | C1-A-14 | 1 | NO | GEN. | 13/11/1997
15 | SLIDING PROBE Ǿ 19mm WITH CABLE - BRIDGE ABSOLUTE 10KHZ | N-A | SP-10 | 980102 | NORTEC | C1-A-15 | 1 | NO | GEN. | 13/11/1997
16 | SLIDING PROBE Ǿ 20mm 200HZ- 20 KHZ | N-A | APS 20/2/50 | N-A | INSPECTION INSTRUMENT | C1-A-16 | 2 | NO | GEN. | 1979-05-02
17 | SLIDING PROBE Ǿ 29mm 300HZ - 10KHZ | N-A | ARP /29/30/10 | N-A | INSPECTION INSTRUMENT | C1-A-17 | 1 | NO | GEN. | 1979-05-02
18 | SLIDING PROBE | N-A | 69-3 | 178 156 | MBB | C1-A-18 | 2 | NO | GEN. | 1979-05-02
19 | SLIDING PROBE | N-A | MBB543A | 24 25 | MBB | C1-A-19 | 2 | NO | GEN. | 1980-10-03
20 | SLIDING PROBE 300HZ - 40KHZ | N-A | SPO-5329 | L00123 | NORTEC | C1-A-20 | 1 | NO | GEN. | 13/11/1997
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
21 | SLIDING PROBE | N-A | SPO1994 | 980017 | NORTEC | C1-A-21 | 1 | NO | GEN. | 13/11/1979
22 | SLIDING PROBE | N-A | 9206406 | V03980 | OLYMPUS | C1-A-22 | 1 | NO | GEN. | 1979-05-02
23 | EMPTY |  |  |  |  | C1-A-23 | EMPTY
24 | CABLE | N-A | EK- 2HF/1 | N-A | ROHMAN | C1-A-24 | 2 | NO | GEN. | 2000-03-11
25 | L.F SLIDING PROBE | N-A | 48-3 | 147 | MBB | C1-A-25 | 1 | NO | GEN. | 2004-12-02
26 | SLIDING PROBE | N-A | PKA-15 H-156 | 5002 | ROHMAN | C1-A-26 | 1 | NO | GEN. | 2003-11-02
27 | SLIDING PROBE | N-A | 9230985 | R15732 | ROHMAN | C1-A-27 | 1 | NO | GEN. | 13/09/2010
METHOD: EDDY CURRENT
LIST OF: LOW FREQUENCY PROBES
SECTION: C1-A
METHOD: EDDY CURRENT
LIST OF: LOW FREQUENCY PROBES
SECTION: C1-A
METHOD: EDDY CURRENT
LIST OF: LOW FREQUENCY PROBES
SECTION: C1-A

## C1-B
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | RING PROBE Ǿ 7mm REFLECTION 100HZ - 10KHZ | N-A | SPO - 2031 | 980419 | NORTEC | C1-B-1 | 1 | NO | GEN. | 1997-03-11
2 | RING PROBE Ǿ 8mm WITH CABLE 100HZ - 10KHZ | N-A | ARP/8/22P | N-A | ALCOPROBE | C1-B-2 | 2 | NO | GEN. | 1976-05-02
3 | RING PROBE Ǿ 9mm BRIDGE | N-A | SPO1747 | 980261 | NORTEC | C1-B-3 | 1 | NO | GEN. | 1997-03-11
4 | RING PROBE Ǿ 9.5mm WITH CABLE 100HZ - 10KHZ | N-A | ARP 9.5/22P | N-A | ALCOPROBE | C1-B-4 | 2 | NO | GEN. | 1980-05-03
5 | RING PROBE Ǿ 10mm REFLECTION | N-A | SPO2131 | 980406 | NORTEC | C1-B-5 | 1 | NO | GEN. | 1997-03-11
6 | RING PROBE Ǿ 13mm REFLECTION 100HZ - 10KHZ | N-A | SP02030 | 980306 | NORTEC | C1-B-6 | 1 | NO | GEN. | 1997-03-11
7 | RING PROBE Ǿ 13mm REFLECTION 30HZ - 5KHZ | N-A | ARK 31-2 | 121 | NORTEC | C1-B-7 | 1 | NO | GEN. | 1997-06-02
8 | RING PROBE Ǿ 13.5mm WITH CABLE 70HZ - 8KHZ | N-A | ARP/13.5/29P | N-A | ALCOPROBE | C1-B-8 | 1 | NO | GEN. | 1980-05-03
9 | RING PROBE Ǿ 16mm REFLECTION 30HZ - 5KHZ | N-A | ARK 31-2 | 9289 | NORTEC | C1-B-9 | 1 | NO | GEN. | 1997-06-02
10 | PENCIL BRIDGE CABLE | N-A | C/RA/6 | 9113017 | NORTEC | C1-B-10 | 1 | NO | GEN. | 30/11/1997
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
11 | RING PROBE Ǿ 16mm WITH CABLE 50HZ - 6KHZ | N-A | ARP/ 16/40P | N-A | ALCOPROBE | C1-B-11 | 1 | NO | GEN. | 1980-10-12
12 | BRIDGE CABLE | N-A | C/SC/6 | 9113016 | NORTEC | C1-B-12 | 1 | NO | GEN. | 30/11/1997
13 | RING PROBE Ǿ 21mm REFLECTION 30HZ - 5KHZ | N-A | ARK 31-2 | 92100 | INSPECTION INSTRUMENT | C1-B-13 | 1 | NO | GEN. | 1997-06-02
14 | RING PROBE Ǿ 26mm REFLECTION 30HZ - 5KHZ | N-A | ARK 31-2 | 92110 | INSPECTION INSTRUMENT | C1-B-14 | 1 | NO | GEN. | 1997-06-02
15 | RING PROBE | N-A | MBB 101-1 | 559-H | MBB | C1-B-15 | 1 | NO | GEN. | 1996-07-12
16 | RING PROBE | N-A | MBB 101-2 | 565-H | MBB | C1-B-16 | 1 | NO | GEN. | 1996-07-12
17 | RING PROBE | N-A | MBB 101-3 | 574-H | MBB | C1-B-17 | 1 | NO | GEN. | 1996-07-12
18 | RING PROBE | N-A | 040-11 | 67 68 | MBB | C1-B-18 | 2 | NO | GEN. | 14/07/1985
19 | RING PROBE | N-A | 040-12 | 69 70 | MBB | C1-B-19 | 2 | NO | GEN. | 14/11/1980
20 | RING PROBE | N-A | 040-14 | 71 72 | MBB | C1-B-20 | 2 | NO | GEN. | 14/11/1980
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
21 | RING PROBE | N-A | 040-15 | 73 74 | MBB | C1-B-21 | 1 | NO | GEN. | 14/11/1980
22 | CONDUCTIVITY PROBE WITH CABLE 60KHZ | N-A | SP02460 | 973713 | NORTEC | C1-B-22 | 1 | NO | GEN. | 30/01/1997
23 | CONDUCTIVITY PROBE WITH CABLE 480KHZ | N-A | 9222036 | 980656 | NORTEC | C1-B-23 | 1 | NO | GEN. | 30/11/1997
24 | REFLECTION CABLE | N-A | CRBR-TF-6REFL | N-A | NDT ENG. | C1-B-24 | 1 | NO | GEN. | 26/10/2006
25 | REFLECTION WITH CABLE | N-A | CR/RA/6 | 9113430. 00 | NORTEC | C1-B-25 | 1 | NO | GEN. | 30/11/1997
26 | PROBE | N-A | KA-IH-1661 | 5011 | N-A | C1-B-26 | 1 | NO | 57-21-39 | 2007-01-11
27 | PROBE | N-A | 2.835-03-6902 | 5883 | NDT ENG. | C1-B-27 | 1 | NO | 57-54-02P6 | 2010-06-01
METHOD: EDDY CURRENT
LIST OF: LOW FREQUENCY PROBES
SECTION: C1-B
METHOD: EDDY CURRENT
LIST OF: LOW FREQUENCY PROBES
SECTION: C1-B
METHOD: EDDY CURRENT
LIST OF: LOW FREQUENCY PROBES
SECTION: C1-B

## C1-C
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | KNIFE PROBE WITH CABLE NF | N-A | 2.154-401 | N-A | DR.FOERSTER | C1-C-1 | 1 | NO | GEN. | 1997-11-06
2 | KNIFE PROBE WITH CABLE NF | N-A | 2.154-401 | N-A | DR.FOERSTER | C1-C-2 | 1 | NO | GEN. | 1997-11-06
3 | KNIFE PROBE WITH CABLE NF | N-A | 2.154-401 | 1100181 | DR.FOERSTER | C1-C-3 | 1 | NO | GEN. | 1997-11-06
4 | KNIFE PROBE WITH CABLE NF | N-A | 2.154-401 | 3543 3540 | DR.FOERSTER | C1-C-4 | 2 | NO | GEN. | 29/08/2002
5 | KNIFE PROBE WITH CABLE NF | N-A | 2.154-401 | 3541 | DR.FOERSTER | C1-C-5 | 1 | NO | GEN. | 29/08/2002
6 | KNIFE PROBE WITH CABLE NF | N-A | 2.154-401 | 3542 | DR.FOERSTER | C1-C-6 | 1 | NO | GEN. | 29/08/2002
7 | KNIFE PROBE WITH CABLE NF | N-A | 2.154-401 | N-A | DR.FOERSTER | C1-C-7 | 1 | NO | GEN. | 29/08/2002
8 | KNIFE PROBE WITH CABLE FE | N-A | 2.154-301 | N-A | DR.FOERSTER | C1-C-8 | 1 | NO | GEN. | 1997-11-06
9 | KNIFE PROBE WITH CABLE FE | N-A | 2.154-301 | N-A | DR.FOERSTER | C1-C-9 | 1 | NO | GEN. | 1997-11-06
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
10 | PENCIL PROBE WITH CABLE | N-A | 2.154-451 | 2961 , 2962 2963 , 2964 | DR.FOERSTER | C1-C-10 | 4 | NO | GEN. | 1997-06-11
11 | CABLE | N-A | 9113429.00 | H00957 | NORTEC | C1-C-11 | 1 | NO | GEN. | 2001-03-11
12 | PENCIL PROBE NF | N-A | 4X E 204 | N-A | DR.FOERSTER | C1-C-12 | 2 | NO | GEN. | 1990-05-04
13 | PENCIL PROBE NF | N-A | 2.832.01-2500 | 402 | DR.FOERSTER | C1-C-13 | 1 | NO | GEN. | 2002-08-11
14 | ANGLE PROBE | N-A | 2.835.01-2100 | 1112 , 1821 1113 | DR.FOERSTER | C1-C-14 | 3 | NO | GEN. | 05/07/2010 07/12/2000
15 | ANGLE PROBE | N-A | 9216204-00 | LO3476 | STAVELEY | C1-C-15 | 1 | NO | GEN. | 2006-09-10
16 | ANGLE PROBE NF | N-A | 2.835.99-2100 | 1018 1021 | DR.FOERSTER | C1-C-16 | 2 | NO | GEN. | 2010-07-05
17 | BOEING PROBE GUIDE | N-A | NDT727G | N-A | AEROFAB NDT | C1-C-17 | 1 | NO | 54-51-06 | 14/07/2020
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
18 | PENCIL PROBE | N-A | 2.835-99-3000 | 3569 | DR.FOERSTER | C1-C-18 | 1 | NO | GEN. | 2000-07-12
19 | ANGLE PROBE H.F | N-A | 2.835.01-4130 | 1001 | DR.FOERSTER | C1-C-19 | 1 | NO | GEN. | 2000-07-12
20 | PROBE WITH CABLE | N-A | 2.154-351 | N-A | DR.FOERSTER | C1-C-20 | 1 | NO | GEN. | 2000-07-12
21 | EMPTY |  |  |  |  | C1-C-21 | EMPTY
22 | PROBE H.F | N-A | 2.832-01-2550 | 398 | DR.FOERSTER | C1-C-22 | 1 | NO | GEN. | 1992-06-11
23 | CABLE | N-A | C.D.M-6 | N-A | ENG.CORP | C1-C-23 | 2 | NO | GEN. | 1992-05-12
24 | ANGLE PROBE H.F | N-A | MP905-45-1-3M | N-A | N-A | C1-C-24 | 1 | NO | GEN. | 16/06/2010
25 | ANGLE PROBE H.F | N-A | MP902-60/1-3M | N-A | N-A | C1-C-25 | 1 | NO | GEN. | 16/06/2010
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
26 | ANGLE PROBE (NFE) | N-A | 2.835.99-2100 | 1020 | DR.FOERSTER | C1-C-26 | 1 | NO | GEN. | 2006-01-07
27 | ANGLE PROBE (FE / NFE) | N-A | 313P24F | EC00528/01 | GE TECHNO LOGIES | C1-C-27 | 1 | NO | GEN. | 13/06/2011
28 | ANGLE PROBE (FE) | N-A | 2.835.99-3100 | 1004 3552 | DR.FOERSTER | C1-C-28 | 2 | NO | GEN. | 01/07/2006 07/12/2000
29 | FLEX. PROBE (NFE) | N-A | 2-835.01-2120 | 1015, 1016, 1017 3555 | DR.FOERSTER | C1-C-29 | 4 | NO | GEN. | 01/07/2006 07/12/2000
30 | SPECIAL PENCIL PROBE | N-A | BL045-6 TEK-2059-1 | 53786 53785 | TECHNA NDT | C1-C-30 | 2 | NO | GEN. | 18/01/2017
31 | ANGLE PROBE | N-A | 9231117-00 | L03477 | STAVELEY | C1-C-31 | 1 | NO | GEN. | 2006-10-09
32 | ANGLE PROBE | N-A | 9216214-00 | L04827 | STAVELEY | C1-C-32 | 1 | NO | GEN. | 2006-10-09
33 | ANGLE PROBE | N-A | 9231119-01 | L04828 L04829 | STAVELEY | C1-C-33 | 2 | NO | GEN. | 2006-10-09
34 | ANGLE PROBE | N-A | 9231118-00 | L03334 | STAVELEY | C1-C-34 | 1 | NO | GEN. | 2006-10-09
35 | EMPTY |  |  |  |  | C1-C-35 | EMPTY
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
36 | L.F PROBE SLIDING Ǿ 12.5mm 1KHZ-40KHZ | N-A | KAS42-5E | S3384 S3385 | ROHMAN | C1-C-36 | 2 | NO | GEN. | 2000-07-12
37 | EMPTY |  |  |  |  | C1-C-37 | EMPTY
38 | PROBE | N-A | 3551AS | 027673 | N-A | C1-C-38 | 1 | NO | A340 / 55-1028-02-1 | 2011-12-03
39 | L.F PROBE | N-A | PABM90C402 | 027719 | ROHMAN | C1-C-39 | 1 | NO | A340 / 551009-01-1 A340 / 551013-02-1 A340 / 551019-01-1 A340 / 551029-02-2 | 2011-12-03
METHOD: EDDY CURRENT
LIST OF: HIGH FREQUENCY PROBES
SECTION: C1-C
METHOD: EDDY CURRENT
LIST OF: HIGH FREQUENCY PROBES
SECTION: C1-C
METHOD: EDDY CURRENT
LIST OF: HIGH FREQUENCY PROBES
SECTION: C1-C
METHOD: EDDY CURRENT
LIST OF: HIGH FREQUENCY PROBES
SECTION: C1-C
METHOD: EDDY CURRENT
LIST OF: HIGH FREQUENCY PROBES
SECTION: C1-C

## C1-D
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | FUSELAGE SECTION 46 SKIN CRACK | N-A | N.D.T 396 | 12047701 | NDT ENG. | C1-D-1 | 1 | NO | B737 / 53-30-09 | 2006-01-01
2 | TEST PIECE | N-A | 99D57504109000 | 09062838 | NDT ENG. | C1-D-2 | 1 | NO | 57-51-63 | 2006-01-08
3 | TEST PIECE | N-A | 99D51107295000 | 09062900 | NDT ENG. | C1-D-3 | 1 | NO | 51-10-11 | 2006-01-08
4 | TEST PIECE | N-A | 99D53409001000 | 09062899 | NDT ENG. | C1-D-4 | 1 | NO | 54-41-37 | 2006-01-08
5 | TEST PIECE | N-A | 99D53203000002 | 09062835 | NDT ENG. | C1-D-5 | 1 | NO | 53-21-86 | 2006-01-08
6 | LAP JOINT BETWEEN Fr.54 &MLG CUTOUT ST. 36 & 44 | N-A | 99A53403007000 | NDTE01071 | NDT ENG. | C1-D-6 | 1 | NO | A600 / 53-15-78 | 24/10/2011
7 | BOEING TEST PIECE | N-A | NDT726 | 28324 | AEROFAB NDT | C1-D-7 | 1 | NO | 54-51-04 | 14/07/2020
8 | TEST PIECE | N-A | A376 A386 | R01556 R01555 | NDT ENG. | C1-D-8 | 2 | NO | B737 / 53-10-45 | 29/01/2009
9 | REFERENCE STANDARD | N-A | 99F53303017000 | 21236 | AEROFAB NDT | C1-D-9 | 1 | NO | A330 / 53-11-84 | 15/07/2019
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | FWD SET OF SEAL TEETH ON THE AFT SHAFT | N-A | N-A | N-A | PLATT | C1-D-10 | 1 | YES | 72-00-52-800-05 | 16/12/2012
2 | KIT | N-A | GE-CFMI-360 | 500 | GE SAFRAN | C1-D-10 | 1 | YES | 72-00-52-800-05 | 16/12/2012
3 | TEST PIECE | N-A | SGP-064 | 12-045 | GE SAFRAN | C1-D-10 | 1 | YES | 72-00-52-800-05 | 16/12/2012
4 | PROBE | N-A | US-852-R1 | 50322 | GE SAFRAN | C1-D-10 | 1 | YES | 72-00-52-800-05 | 16/12/2012
5 | PROBE | N-A | US-852-R1 | 50323 | GE SAFRAN | C1-D-10 | 1 | YES | 72-00-52-800-05 | 16/12/2012
6 | CABLE | N-A | UNIWEST 94052 | 0947 | GE SAFRAN | C1-D-10 | 1 | YES | 72-00-52-800-05 | 16/12/2012
7 | TEFLON TAP | N-A | N-A | N-A | N-A | C1-D-10 | 1 | YES | 72-00-52-800-05 | 16/12/2012
8 | KEYS FOR CASE | N-A | N-A | N-A | PLATT | C1-D-10 | 1 | YES | 72-00-52-800-05 | 16/12/2012
9 | TEST PIECE HOLDER | N-A | E4162 | N-A | GE SAFRAN | C1-D-10 | 1 | YES | 72-00-52-800-05 | 16/12/2012
10 | SCOTCH BRITE | N-A | 86876 | N-A | GE SAFRAN | C1-D-10 | 1 | YES | 72-00-52-800-05 | 16/12/2012
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | SB: CF34-8E72-0060 (CAT 2) ENGINE FAN BLADES | N-A | N-A | N-A | METGIT | C1-D-11 | 1 | YES | EMB170 / E.O 214 | 2013-07-04
2 | KIT | N-A | GE-FQAP446 | 513 | METGIT | C1-D-11 | 1 | YES | EMB170 / E.O 214 | 2013-07-04
3 | PROBE | N-A | SPO-6700.735 | U12477 U12478 | METGIT | C1-D-11 | 2 | YES | EMB170 / E.O 214 | 2013-07-04
4 | CALIBRATION STANDARD | N-A | MOD-091 | 12-090 | METGIT | C1-D-11 | 1 | YES | EMB170 / E.O 214 | 2013-07-04
5 | BASE PLATE | N-A | J050884G01 | N-A | METGIT | C1-D-11 | 1 | YES | EMB170 / E.O 214 | 2013-07-04
6 | BASE PLATE | N-A | J058077G01 | N-A | METGIT | C1-D-11 | 1 | YES | EMB170 / E.O 214 | 2013-07-04
7 | ACTION MARKER | N-A | N-A | N-A | METGIT | C1-D-11 | 1 | YES | EMB170 / E.O 214 | 2013-07-04
8 | SUPPORT | N-A | N-A | N-A | METGIT | C1-D-11 | 2 | YES | EMB170 / E.O 214 | 2013-07-04
METHOD: EDDY CURRENT
LIST OF: L.F TEST PIECE
SECTION: C1-D
METHOD: EDDY CURRENT
LIST OF: KIT
SECTION: C1-D
METHOD: EDDY CURRENT
LIST OF: KIT
SECTION: C1-D

## P-A-1
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | EMPTY |  |  |  |  | P-A-1 | EMPTY
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-A-1

## P-A-2
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
NORTEC 24 P ACCESSORIES KIT |  | N-A | N-A | N-A | NORTEC | P-A-2 | 1 | YES | GEN. | 16/03/1998
1 | ADAPTOR | N-A | SPO-2646 | N-A | NORTEC | P-A-2 | 1 | YES | GEN. | 16/03/1998
2 | ADAPTOR | N-A | SPO-4026 | N-A | NORTEC | P-A-2 | 1 | YES | GEN. | 16/03/1998
3 | ADAPTOR | N-A | SPO-3896 | N-A | NORTEC | P-A-2 | 1 | YES | GEN. | 16/03/1998
4 | ADAPTOR | N-A | SPO-3895 | N-A | NORTEC | P-A-2 | 1 | YES | GEN. | 16/03/1998
5 | ADAPTOR | N-A | ALCO 1 | N-A | NORTEC | P-A-2 | 1 | YES | GEN. | 16/03/1998
6 | ADAPTOR | N-A | VM9BDY/BN | EG-2 | NORTEC | P-A-2 | 1 | YES | GEN. | 16/03/1998
7 | ADAPTOR | N-A | SPO-3843 | N-A | NORTEC | P-A-2 | 1 | YES | GEN. | 16/03/1998
8 | ADAPTOR | N-A | 2.832-02-9701 | N-A | NORTEC | P-A-2 | 1 | YES | GEN. | 16/03/1998
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-A-2

## P-A-3
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | ELOTEST M3 | 45N0072 | ELOTEST M3 | 100100 | ROHMANN | P-A-3 | 1 | NO | GEN. | 2010-01-01
2 | CABLE | N-A | K5166-2 | N-A | ROHMANN | P-A-3 | 1 | NO | GEN. | 2010-01-01
3 | POWER CHARGER | N-A | 100374 | 060587 | ROHMANN | P-A-3 | 1 | NO | GEN. | 2010-01-01
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-A-3

## P-A-4
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | ELOTEST M3 | 45N0073 | ELOTEST M3 | 100101 | ROHMANN | P-A-4 | 1 | NO | GEN. | 2010-01-01
2 | CABLE | N-A | K5166-2 | N-A | ROHMANN | P-A-4 | 1 | NO | GEN. | 2010-01-01
3 | POWER CHARGER | N-A | 100374 | 060586 | ROHMANN | P-A-4 | 1 | NO | GEN. | 2010-01-01
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-A-4

## P-A-5
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | EMPTY |  |  |  |  | P-A-5 | EMPTY
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-A-5

## P-A-6
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
ELOTEST B1 KIT |  | N-A | N-A | N-A | ROHMANN | P-A-6 | 1 | YES | GEN. | 2000-08-10
1 | ELOTEST B1 | 45N0025 | B1V4UM | 01335 | ROHMANN | P-A-6 | 1 | YES | GEN. | 2000-08-10
2 | CHARGER | N-A | N-A | 93972 | ROHMANN | P-A-6 | 1 | YES | GEN. | 2000-08-10
3 | ADAPTOR | N-A | B1-IFR15 | 4075 | ROHMANN | P-A-6 | 1 | YES | GEN. | 2000-08-10
4 | ADAPTOR | N-A | B1-NOB8L | 5330 | ROHMANN | P-A-6 | 1 | YES | GEN. | 2000-08-10
5 | ADAPTOR | N-A | B1-NOB8L/1 | 5109 | ROHMANN | P-A-6 | 1 | YES | GEN. | 2000-08-10
6 | ADAPTOR | N-A | B1-ZERF | 2817 | ROHMANN | P-A-6 | 1 | YES | GEN. | 2000-08-10
7 | ADAPTOR | N-A | B1-RS | 5214 | ROHMANN | P-A-6 | 1 | YES | GEN. | 2000-08-10
8 | ADAPTOR | N-A | B1-NOR8 | 5288 | ROHMANN | P-A-6 | 1 | YES | GEN. | 2000-08-10
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-A-6

## P-A-7
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | ROTOTEST | 45N0030 | B588 | 289 | ROHMANN | P-A-7 | 1 | NO | GEN. | 2002-07-02
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-A-7

## P-A-8
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | ROTOTEST | 45N0012 | B588 | 252-94 | ROHMANN | P-A-8 | 1 | NO | GEN. | 17/12/1994
2 | CHARGER | N-A | N-A | 9420 | ROHMANN | P-A-8 | 1 | NO | GEN. | 17/12/1994
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-A-8

## P-B-2
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | DEFECTOMETER | 45N0004 | 2.835-02-1003 | 686 | DR. FOERSTER | P-B-2 | 1 | NO | GEN. | 14/05/1980
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-B-2

## P-B-3
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | DEFECTOMETER | 45N0002 | 2.835-01-1004 | 1316 | DR. FOERSTER | P-B-3 | 1 | NO | GEN. | 19/11/1991
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-B-2

## P-B-4
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | DEFECTOMETER | 45N0026 | 2.837-01 | 1390 | DR. FOERSTER | P-B-4 | 1 | NO | GEN. | 13/12/2000
2 | ADAPTOR | N-A | FW1288 | N-A | DR. FOERSTER | P-B-4 | 1 | NO | GEN. | 13/12/2000
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-B-4

## P-B-5
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | DEFECTOMETER | 45N0063 | 2.837-01 | 1695 | DR. FOERSTER | P-B-5 | 1 | NO | GEN. | 1993-01-08
2 | ADAPTOR | N-A | FW75550/12 | N-A | DR. FOERSTER | P-B-5 | 1 | NO | GEN. | 1993-06-09
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-B-5

## P-B-6
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | DEFECTOMETER | 45N0066 | 2.837-01 | 1705 | DR. FOERSTER | P-B-6 | 1 | NO | GEN. | 2007-08-07
2 | ADAPTOR | N-A | FW75550/12 | N-A | DR. FOERSTER | P-B-6 | 1 | NO | GEN. | 2007-08-07
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-B-6

## P-B-7
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
NORTEC TESTR KIT |  | N-A | N-A | N-A | OLYMPUS | P-B-7 | 1 | YES | GEN. | 20/11/2007
1 | NORTEC TESTER | 45N0067 | NORTEC2000 | N2000D1686N094436 | OLYMPUS | P-B-7 | 1 | YES | GEN. | 20/11/2007
2 | PROBE | N-A | 9222161 | NO9484 | OLYMPUS | P-B-7 | 1 | YES | GEN. | 20/11/2007
3 | PROBE | N-A | 9222162 | N12673 | OLYMPUS | P-B-7 | 1 | YES | GEN. | 20/11/2007
4 | PROBE | N-A | 9222164 | N12189 | OLYMPUS | P-B-7 | 1 | YES | GEN. | 20/11/2007
5 | CHARGER | N-A | 9522153.05 V6 | N-A | OLYMPUS | P-B-7 | 1 | YES | GEN. | 20/11/2007
6 | CABLE | N-A | SPO-6687 | N-A | OLYMPUS | P-B-7 | 1 | YES | GEN. | 2009-02-07
7 | CABLE | N-A | CRN16-4F-6 | N-A | OLYMPUS | P-B-7 | 1 | YES | GEN. | 2009-02-07
8 | CABLE | N-A | 9230845-01 | N-A | OLYMPUS | P-B-7 | 1 | YES | GEN. | 2009-02-07
9 | CABLE | N-A | 9122083-03 | N-A | OLYMPUS | P-B-7 | 1 | YES | GEN. | 2009-02-07
10 | CABLE | N-A | 9122083 | N-A | OLYMPUS | P-B-7 | 1 | YES | GEN. | 2009-02-07
11 | CABLE | N-A | 9122244 | N-A | OLYMPUS | P-B-7 | 1 | YES | GEN. | 2009-02-07
12 | GUIDE | N-A | N-A | N-A | OLYMPUS | P-B-7 | 1 | YES | GEN. | 2009-02-07
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-B-7

## P-B-8
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | SIGMA TEST | 45N0031 | 2.068-01 | 1543 | DR. FOERSTER | P-B-8 | 1 | YES | GEN. | 1982-02-01
2 | CABLE | N-A | 2.068FII0404 | 9061649 | DR. FOERSTER | P-B-8 | 1 | YES | GEN. | 1982-02-01
3 | PROBE | N-A | 2.068-01 | 322 | DR. FOERSTER | P-B-8 | 1 | YES | GEN. | 1982-02-01
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-B-8

## P-B-9
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
SIGMA TEST KIT |  | N-A | N-A | N-A | DR. FOERSTER | P-B-9 | 1 | YES | GEN. | 27/12/2012
1 | SIGMA TEST | 45N0121 | 2.069 | 1341 | DR. FOERSTER | P-B-9 | 1 | YES | GEN. | 27/12/2012
2 | PROBE | N-A | 9068090 | 124 | DR. FOERSTER | P-B-9 | 1 | YES | GEN. | 27/12/2012
3 | PROBE | N-A | 9068082 | 1299 | DR. FOERSTER | P-B-9 | 1 | YES | GEN. | 27/12/2012
4 | PROBE | N-A | 9068074 | 826 | DR. FOERSTER | P-B-9 | 1 | YES | GEN. | 27/12/2012
5 | PROBE | N-A | 2.069.69-0002 | 436 | DR. FOERSTER | P-B-9 | 1 | YES | GEN. | 27/12/2012
6 | PROBE GUIDE | N-A | N-A | N-A | DR. FOERSTER | P-B-9 | 1 | YES | GEN. | 27/12/2012
7 | SPARE BATTERY | N-A | N-A | N-A | DR. FOERSTER | P-B-9 | 1 | YES | GEN. | 27/12/2012
8 | BATTERY CHARGER | N-A | 9065822 | N-A | DR. FOERSTER | P-B-9 | 1 | YES | GEN. | 27/12/2012
9 | ADAPTOR | N-A | 9080074 | 1.069/2.069 | DR. FOERSTER | P-B-9 | 1 | YES | GEN. | 27/12/2012
10 | CABLE | N-A | 2.069FII1324 | 9080066 | DR. FOERSTER | P-B-9 | 1 | YES | GEN. | 27/12/2012
11 | STORAGE CARD | N-A | 9080040 | 1299 | DR. FOERSTER | P-B-9 | 1 | YES | GEN. | 27/12/2012
12 | STORAGE CARD | N-A | 9080058 | 124 | DR. FOERSTER | P-B-9 | 1 | YES | GEN. | 27/12/2012
13 | STORAGE CARD | N-A | 9080031 | 826 | DR. FOERSTER | P-B-9 | 1 | YES | GEN. | 27/12/2012
14 | STORAGE CARD | N-A | 9080040 | 826 | DR. FOERSTER | P-B-9 | 1 | YES | GEN. | 27/12/2012
15 | STORAGE CARD | N-A | N-A | 436 | DR. FOERSTER | P-B-9 | 1 | YES | GEN. | 2016-01-04
16 | OPERATING INSTRUCTIONS CD | N-A | N-A | N-A | DR. FOERSTER | P-B-9 | 1 | YES | GEN. | 27/12/2012
17 | TEST PIECE | N-A | 9081003 | 1316 | DR. FOERSTER | P-B-9 | 1 | YES | GEN. | 27/12/2012
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-B-9

## P-B-10
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
MINI TEST 4100 KIT |  | N-A | N-A | N-A | ELEKTRO PHYSIK | P-B-10 | 1 | YES | GEN. | 2007-12-03
1 | MINI TEST 4100 | 45N0061 | MINITEST 4100 | 1406 | ELEKTRO PHYSIK | P-B-10 | 1 | YES | GEN. | 2007-12-03
2 | PROBE | N-A | FN2 | 25995 | RIES KIT | P-B-10 | 1 | YES | GEN. | 2007-12-03
3 | TEST PIECE | N-A | N-A | N-A | RIES KIT | P-B-10 | 3 | YES | GEN. | 2007-12-03
4 | FOILS | N-A | N-A | N-A | RIES KIT | P-B-10 | 7 | YES | GEN. | 2007-12-03
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-B-10

## P-C-1
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
DEFECTOMETER KIT |  | N-A | N-A | N-A | DR. FOERSTER | P-C-1 | 1 | YES | GEN. | 2015-01-12
1 | DEFECTOMETER M | 45N0125 | 1.837.01 | 0565 | DR. FOERSTER | P-C-1 | 1 | YES | GEN. | 2015-01-12
2 | CABLE FOR PROBE | N-A | 1.837.01-9900 | N-A | DR. FOERSTER | P-C-1 | 1 | YES | GEN. | 2015-01-12
3 | BATTERY CHARGER | N-A | SYS1308-2412 | N-A | DR. FOERSTER | P-C-1 | 1 | YES | GEN. | 2015-01-12
4 | AL REF. STANDARD | 45N0129 | 1.837.01-1110 | 1008 | DR. FOERSTER | P-C-1 | 1 | YES | GEN. | 2015-01-12
5 | TI REF. STANDARD | 45N0131 | 1.837.01-1140 | 1133 | DR. FOERSTER | P-C-1 | 1 | YES | GEN. | 2015-01-12
6 | FE REF. STANDARD | 45N0127 | 1.837.01-1120 | 1110 | DR. FOERSTER | P-C-1 | 1 | YES | GEN. | 2015-01-12
7 | CASE KEY | N-A | N-A | N-A | DR. FOERSTER | P-C-1 | 1 | YES | GEN. | 2015-01-12
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-C-1

## P-C-2
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
DEFECTOMETER KIT |  | N-A | N-A | N-A | DR. FOERSTER | P-C-2 | 1 | YES | GEN. | 2015-01-12
1 | DEFECTOMETER M | 45N0126 | 1.837.01 | 0566 | DR. FOERSTER | P-C-2 | 1 | YES | GEN. | 2015-01-12
2 | CABLE FOR PROBE | N-A | 1.837.01-9900 | N-A | DR. FOERSTER | P-C-2 | 1 | YES | GEN. | 2015-01-12
3 | BATTERY CHARGER | N-A | SYS1308-2412 | N-A | DR. FOERSTER | P-C-2 | 1 | YES | GEN. | 2015-01-12
4 | AL REF. STANDARD | 45N0130 | 1.837.01-1110 | 1009 | DR. FOERSTER | P-C-2 | 1 | YES | GEN. | 2015-01-12
5 | TI REF. STANDARD | 45N0132 | 1.837.01-1140 | 1134 | DR. FOERSTER | P-C-2 | 1 | YES | GEN. | 2015-01-12
6 | FE REF. STANDARD | 45N0128 | 1.837.01-1120 | 1111 | DR. FOERSTER | P-C-2 | 1 | YES | GEN. | 2015-01-12
7 | CASE KEY | N-A | N-A | N-A | DR. FOERSTER | P-C-2 | 1 | YES | GEN. | 2015-01-12
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-C-2

## P-C-3
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
ELOTEST B310 KIT |  | N-A | N-A | N-A | ROHMANN | P-C-3 | 1 | YES | GEN. | 2015-10-12
1 | ELOTEST B310 | 45N0133 | ELOTEST B310 | A00ACP | ROHMANN | P-C-3 | 1 | YES | GEN. | 2015-10-12
2 | CABLE FOR CONDUCTIVITY PROBES | N-A | EK-2-023 | N-A | ROHMANN | P-C-3 | 1 | YES | GEN. | 2015-10-12
3 | RUBBER STOPS | N-A | N-A | N-A | ROHMANN | P-C-3 | 1 | YES | GEN. | 2015-10-12
4 | CHARGER | N-A | 9A1202710 | N-A | ROHMANN | P-C-3 | 1 | YES | GEN. | 2015-10-12
5 | SHIELDED ABSOLUTE CORD | N-A | KAS-7H-190 | A00QB9 | ROHMANN | P-C-3 | 1 | YES | GEN. | 2015-10-12
6 | REFERANCE STANDARD | N-A | TP79.02.1 | A00QSG | ROHMANN | P-C-3 | 1 | YES | GEN. | 2015-10-12
7 | REFERANCE STANDARD | N-A | TP79.05.1 | A00QSI | ROHMANN | P-C-3 | 1 | YES | GEN. | 2015-10-12
8 | REFERANCE STANDARD | N-A | TP79.04.1 | A00MWC | ROHMANN | P-C-3 | 1 | YES | GEN. | 2015-10-12
9 | REFERANCE STANDARD | N-A | TP105 | A00QSJ | ROHMANN | P-C-3 | 1 | YES | GEN. | 2015-10-12
METHOD: EDDY CURRENT
LIST OF: INSTRUMENTS
SECTION: P-C-3