## C3-A-1
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
DIFFUSER CASE JT9D |  | EC -K-1 |  |  | P&W | C3-A-1 |  | YES | NDIP 777 E.O316 | 1998-08-28
1 | PROBE ASS | EC -K-1-1 | PWA76397-E | NDE0417 | P&W | C3-A-1 | 1 | YES | NDIP 777 E.O316 | 1998-08-28
2 | TEST PIECE | EC -K-1-2 | PWA101498 | 0 19616 | P&W | C3-A-1 | 1 | YES | NDIP 777 E.O316 | 1998-08-28
3 | ADAPTOR | EC -K-1-3 | 9504670 | N - A | NORTEC | C3-A-1 | 1 | YES | NDIP 777 E.O316 | 1998-08-28
4 | FLEXIBLE GUIDE ROD ( OUT ) | EC -K-1-4 | N-A | N - A | P&W | C3-A-1 | 1 | NO | NDIP 777 E.O316 | 1998-08-28
5 | HOCK | EC -K-1-5 | N-A | N - A | P&W | C3-A-1 | 1 | YES | NDIP 777 E.O316 | 1998-08-28
METHOD: EDDY CURRENT
LIST OF:
SECTION: C3-A-1

## C3-A-2
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
DIFFUSER CASE JT9D |  | E-CK-2 |  |  | P&W | C3-A-2 |  | YES | NDIP 777 E.O 316 | 2000-10-09
1 | PROBE ASSEMBLY | E-CK-2-1 | PWA76397-E | NDE0419 | P&W | C3-A-2 | 1 | YES | NDIP 777 E.O 316 | 2000-10-09
2 | TEST PIECE | E-CK-2-2 | PWA101498 | 0 19620 | P&W | C3-A-2 | 1 | YES | NDIP 777 E.O 316 | 2000-10-09
3 | FLEXIBLE GUIDE ROD ( OUT ) | E-CK-2-3 | PWA76397E-6 | N-A | P&W | C3-A-2 | 1 | NO | NDIP 777 E.O 316 | 2000-10-09
4 | HOCK | E-CK-2-4 | N - A | N - A | P&W | C3-A-2 | 1 | YES | NDIP 777 E.O 316 | 2000-10-09
5 | CABLE | E-CK-2-4 | N - A | N - A | P&W | C3-A-2 | 1 | YES | NDIP 777 E.O 316 | 2000-10-09
METHOD:
LIST OF:
SECTION: C3-A-2

## C3-A-3
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
ENGING BLADE 1.6 |  | E-CK-3 |  |  | P&W | C3-A-3 |  | YES | NDIP 848 E.O 580 | 1996-04-17
1 | GUIDE FOR PROBE | E-CK-3 | N-A | N - A | P&W | C3-A-3-1 | 4 | YES | NDIP 848 E.O 580 | 1996-04-17
2 | TEST PIECE | E-CK-3 | PWA101043 | 129523 | P&W | C3-A-3-2 | 1 | YES | NDIP 848 E.O 580 | 1996-04-17
3 | TEST PIECE | E-CK-3 | PWA101043 | 129560 | P&W | C3-A-3-3 | 1 | YES | NDIP 848 E.O 580 | 1996-04-17
4 | PROBE ASS. | E-CK-3 | PWA101042A | NDE0666 | P&W | C3-A-3-5 | 2 | YES | NDIP 848 E.O 580 | 2005-11-10
NDE1130
5 | RECORDABLE CABLE | E-CK-3 | H2.835 | N - A | P&W | C3-A-3-6 | 1 | YES | NDIP 848 E.O 580 | 2005-11-10
METHOD:
LIST OF:
SECTION: C3-A-3

## C3-A-4
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
WING FUSELAGE JOINT |  | E-C-K-4 |  |  | ROHMAN | C3-A-4 |  | YES | 57-11-47 A320 | 16-1-2003
1 | PROBE | E-C-K-4 | RSVS15-20 | 593 | ROHMAN | C3-A-4 | 2 | YES | 57-11-47 E.O 342 | 16-1-2003
598
2 | ADJUSTING | E-C-K-4 | AR000115 | N-A | ROHMAN | C3-A-4 | 2 | YES | 57-11-47 E.O 342 | 16-1-2003
3 | ALANKEY | E-C-K-4 | N-A | N-A | ROHMAN | C3-A-4 | 3 | YES | 57-11-47 E.O 342 | 16-1-2003
4 | SUPPORT | E-C-K-4 | N-A | N-A | ROHMAN | C3-A-4 | 2 | YES | 57-11-47 E.O 342 | 16-1-2003
METHOD:
LIST OF:
SECTION: C3-A-4

## C3-A-5
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
H.F.E.C INSPECTION GENERAL USE |  | E-C-K - 5 |  |  | HOCKING | C3-A-5 |  | YES | GEN. | 2000-05-01
1 | ANGLE PROBE (NF) | E-C-K5 | 314P14 | N-A | HOCKING | C3-A-5-1 | 1 | YES | GEN. | 2000-05-01
2 | ANGLE PROBE (NF) | E-C-K5 | 314P34 | 80568/1 | HOCKING | C3-A-5-2 | 1 | YES | GEN. | 2000-05-01
3 | ANGLE PROBE (NF) | E-C-K5 | 310P24 | N-A | HOCKING | C3-A-5-3 | 1 | YES | GEN. | 2000-05-01
4 | ANGLE PROBE (NF) | E-C-K5 | 106P4 | N-A | HOCKING | C3-A-5-4 | 1 | YES | GEN. | 2000-05-01
5 | ANGLE PROBE (FE-NF) | E-C-K5 | 29P135 | 4XE-2529557 | HOCKING | C3-A-5-5 | 1 | YES | GEN. | 2000-05-01
6 | ANGLE PROBE (FE-NF) | E-C-K5 | 205P4 | N-A | HOCKING | C3-A-5-6 | 1 | YES | GEN. | 2000-05-01
7 | ANGLE PROBE (FE-NF) | E-C-K5 | 301P13 | 70959/1 | HOCKING | C3-A-5-7 | 1 | YES | GEN. | 2000-05-01
8 | ANGLE PROBE (NF) | E-C-K5 | 610-205-020 | 00W8HF | KRAUT KRAMER | C3-A-5-8 | 1 | YES | GEN. | 2000-05-01
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
9 | ANGLE PROBE (NF) | E-C-K5 | 107P4 | 31202/5 | HOCKING | C3-A-5-9 | 1 | YES | GEN. | 2000-05-01
10 | ANGLE PROBE (NF) | E-C-K5 | 206P4F | 519858/09 | HOCKING | C3-A-5-10 | 1 | YES | GEN. | 2000-05-01
11 | ANGLE PROBE (NF) | E-C-K5 | 206P004 | 40530/2 | HOCKING | C3-A-5-11 | 1 | YES | GEN. | 2000-05-01
12 | ANGLE PROBE (NF) | E-C-K5 | 206P003 | 40531/2 | HOCKING | C3-A-5-12 | 1 | YES | GEN. | 2000-05-01
METHOD:
LIST OF:
SECTION: C3-A-5
METHOD:
LIST OF:
SECTION: C3-A-5

## C3-A-6
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
H.F.E.C INSPECTION GENERAL USE |  | E-CK-6 |  |  | NORTEC | C3-A-6 |  | YES | GEN | 2000-05-10
1 | ANGLE PROBE | E-CK-6 | P/1MHZ-2MHZ/ A/90.03/6 | FO 4191 | NORTEC | C3-A-6 | 1 | YES | GEN | 2000-05-10
2 | ANGLE PROBE | E-CK-6 | P/1MHZ-2MHZ/ A/90.03/6 | FO 4280 | NORTEC | C3-A-6 | 1 | YES | GEN | 2000-05-10
3 | ANGLE PROBE | E-CK-6 | P/1MHZ-2MHZ/ A/90.03/6 | EO 1675 | NORTEC | C3-A-6 | 1 | YES | GEN | 2000-05-10
4 | PENCIL PROBE | E-CK-6 | PR/1MHZ/3MHZ/A | FO 4170 | NORTEC | C3-A-6 | 1 | YES | GEN | 2000-05-10
5 | PENCIL PROBE | E-CK-6 | PR/3MHZ- 6MHZ/A | FO4171 | NORTEC | C3-A-6 | 1 | YES | GEN | 2000-05-10
6 | PENCIL PROBE | E-CK-6 | KA S2-2/100K-3MHZ | 129 | ROHMAN | C3-A-6 | 1 | YES | GEN | 2000-05-10
7 | PENCIL PROBE | E-CK-6 | KD S2-2/500K-8MHZ | 632 | ROHMAN | C3-A-6 | 1 | YES | GEN | 2000-05-10
8 | SLIDING PROBE | E-CK-6 | MDK 4-1/500K-5MHZ | 116 | ROHMAN | C3-A-6 | 1 | YES | GEN | 2000-05-10
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
9 | PENCIL PROBE | E-CK-6 | PR/500KHZ/2M HZ/A /0.0/4 | FO 4184 | NORTEC | C3-A-6 | 1 | YES | GEN. | 2000-05-10
10 | ANGLE PROOBE | E-CK-6 | PR/500KHZ/2M HZ/A/90.03/6 | FO4281 | NORTEC | C3-A-6 | 1 | YES | GEN. | 2000-05-10
11 | ANGLE PROOBE | E-CK-6 | KAS - 66-3/100K-5MHZ | 181 | ROHMAN | C3-A-6 | 1 | YES | GEN. | 2000-05-10
12 | GUIDE | E-CK-6 | N-A | N-A | NORTEC | C3-A-6 | 2 | YES | GEN. | 2000-05-10
13 | PROBE | E-CK-6 | RS902-50B/20K/2D | N-A | ROHMAN | C3-A-6 | 1 | YES | GEN. | 2000-05-10
14 | PROBE | E-CK-6 | MTF-30/50-500K | N-A | ROHMAN | C3-A-6 | 1 | YES | GEN. | 2000-05-10
METHOD:
LIST OF:
SECTION: C3-A-6
METHOD:
LIST OF:
SECTION: C3-A-6

## C3-A-7
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
AUTO PILOT SERVO ALIRON CONTROL |  | E-CK-7 |  |  | ENG-CORP | C3-A-7 |  | YES | 27- 1 0-0 1 B747 EO91 | 1999-05-25
1 | PROBE 50-500 KHZ | E-CK-7 | THP 4058 | N-A | ENG-CORP | C3-A-7 | 1 | YES | 27- 1 0-0 1 E.O- 91 | 1999-05-25
2 | ANGLE PROBE | E-CK-7 | UP905-50 | N-A | ENG-CORP | C3-A-7 | 1 | YES | 27- 1 0-0 1 E.O- 91 | 1999-05-25
3 | TEST PIECE | E-CK-7 | NDT 4058 | 0 5992385 | ENG-CORP | C3-A-7 | 1 | YES | 27- 1 0-0 1 E.O- 91 | 1999-05-25
METHOD:
LIST OF:
SECTION: C3-A-7

## C3-A-8
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
TIH- F/AP OUT BOARD FLAP |  | E-C-K - 8 |  |  |  | C3-A-8 |  | YES | 57-50-06 737-570 | 2004-02-05
1 | PROBE | E-C-K8 | NEC- 1062 | N-A | ENG-CORP | C3-A-8 | 1 | YES | 57-50-06 737-570 | 2004-02-05
2 | TEST PIECE | E-C-K8 | NDT 1062 | 0 2044665 | ENG-CORP | C3-A-8 | 1 | YES | 57-50-06 737-570 | 2004-02-05
3 | TEST PIECE | E-C-K8 | NDT 1061 | 0 2044664 | ENG-CORP | C3-A-8 | 1 | YES | 57-50-06 737-570 | 2004-02-05
4 | TEST PIECE | E-C-K8 | NDT 192 | 0 2044666 | ENG-CORP | C3-A-8 | 1 | YES | 57-50-06 737-570 | 2004-02-05
5 | GUIDE | E-C-K8 | NDT 3020P1 | N-A | ENG-CORP | C3-A-8 | 1 | YES | 57-50-06 737-570 | 2004-02-05
6 | GUIDE | E-C-K8 | NEC 1062G | N-A | ENG-CORP | C3-A-8 | 1 | YES | 57-50-06 737-570 | 2004-02-05
METHOD:
LIST OF:
SECTION: C3-A-8

## C3-A-9
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
L.F.E.C OUTER WING TO CENTER WING BOX |  | E-C-K - 9 |  |  |  | C3-A-9 |  | YES | 57-10-41
1 | PROBE | E-C-K9 | 2.832.01.3235 | 711 | ROHMAN | C3-A-9 | 1 | YES | 57-10-41 | 2006-12-22
2 | PROBE | E-C-K9 | ARK 31-2 | 248 | ROHMAN | C3-A-9 | 1 | YES | 57-10-41 | 2006-12-22
3 | TEST PIECE | E-C-K9 | 99A57103008101 | 0 1044517 | NDT | C3-A-9 | 1 | YES | 57-10-41 | 2006-12-22
4 | TEST PIECE | E-C-K9 | 99A57103008100 | 12063449 | NDT | C3-A-9 | 1 | YES | 57-10-41 | 2006-12-22
METHOD:
LIST OF:
SECTION: C3-A-9

## C3-A-10
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
FUSELAGE FR73.FR75 DOOR A300 E.O 865 |  | E-C-K - 10 |  |  |  | C3-A-10 |  | YES | 51-10-16 E.O 865
1 | TEST PIECE | E-C-K10 | 99A53307274000 | 6075052 | NDT | C3-A-10 | 1 | YES | 51-10-16 E.O 865 | 2007-03-20
2 | TEST PIECE | E-C-K10 | 99A51107300000 | BRE - 87-816 | AIRBUS | C3-A-10 | 1 | YES | 51-10-16 E.O 865 | 2007-03-20
3 | ANGEL PROPE | E-C-K10 | 2.832.02-2455 | 1840 | FORESTER | C3-A-10 | 1 | YES | 51-10-16 E.O 865 | 2019-10-09
4 | ANGEL PROPE | E-C-K10 | 2.832.02-2455 | 778 | ROHMANN | C3-A-10 | 1 | YES | 51-10-16 E.O 865 | 2007-06-01
5 | FLEXBLE PROBE | E-C-K10 | 2.832.01-2520 | 779 | ROHMANN | C3-A-10 | 1 | YES | 51-10-16 E.O 865 | 2007-06-01
6 | CABLE | E-C-K10 | 2-832.02-9902 | 14 59910 | FORSTER | C3-A-10 | 1 | YES | 51-10-16 E.O 865 | 2007-06-01
METHOD:
LIST OF:
SECTION: C3-A-10

## C3-A-11
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
FUSELAGE.SKEN.CIRUMFNTIAL |  | E.C.K-11 |  |  |  | C3-A-11 |  | YES
1 | TEST PIECE | E.C.K-11 | 194 | 0 7075154 | ENG-CORP | C3-A-11 | 1 | YES | E.O625 | 2007-07-12
2 | TEST PIECE | E.C.K-11 | 194 A | 0 7075149 | ENG-CORP | C3-A-11 | 1 | YES | E.O625 | 2007-07-12
3 | TEST PIECE | E.C.K-11 | 194 B | 0 7075193 | ENG-CORP | C3-A-11 | 1 | YES | E.O625 | 2007-07-12
METHOD:
LIST OF:
SECTION: C3-A-11

## C3-A-12
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
DIFFUSER CASE REAR JT9D |  | E.C.K-12
1 | PROBE ASSEMBLY | E.C.K-12 | PWA76397E | NDE 0948 NDE 0949 | P & W | C3-A-12 | 2 | YES | NDIP 777 E.O316 | 2009-10-04
2 | CABLE | E.C.K-12 | N - A | N - A | P & W | C3-A-12 | 2 | YES | NDIP 777 E.O316 | 2009-10-04
3 | HOCK | E.C.K-12 | N - A | N-A | P & W | C3-A-12 | 2 | YES | NDIP 777 E.O316 | 2009-10-04
METHOD:
LIST OF:
SECTION: C3-A-12

## C3-A-13
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
LAP JO INT & TEAR STRAOP INSP (B737-500)
1 | TEST PIECE | E.C- K-13 | A NDT 3019 | R12807 | OLYMPUS | C3-A-1 | 1 | YES | 606 53-30-12 PART6 | 2009-04-10
2 | TEST PIECE | E.C- K-13 | A NDT 3004 | R14759 | OLYMPUS | C3-A-2 | 1 | YES | 606 53-30-12 PART6 | 2009-04-10
3 | PROBE | E.C- K-13 | NEC-1083 | N-A | OLYMPUS | C3-A-3 | 1 | YES | 606 53-30-12 PART6 | 2009-04-10
4 | PROBE | E.C- K-13 | LP903-50B/1-30K | N-A | OLYMPUS | C3-A-4 | 1 | YES | 606 53-30-12 PART6 | 2009-04-10
METHOD:
LIST OF:
SECTION: C3-A-13

## C3-A-14
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
FUSELAGE SKIN INSPECTION
1 | TEST PIECE | E.C-C3-A-14 | 369 | R14762 | OLYMPUS | C3-A-1 | 1 | YES | E.O462 E.O 889 | 2009-04-10
2 | TEST PIECE | E.C-C3-A-14 | NDT 396 | R14173 | OLYMPUS | C3-A-2 | 1 | YES | E.O462 E.O 889 | 2009-04-10
METHOD:
LIST OF:
SECTION: C3-A-14

## C3-A-15
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| OUTER WING BOTTOM SKIN JOINT STRAP | E-C-K 15 |  |  | OLYMPUS | C3-A-15 |  | YES | A310 57-25-45 | 20-1-2010
1 | TEST PIECE | E-C-K 15 | 99A57204429000 | S00851 | OLYMPUS | C3-A-15 | 1 | YES | A310 57-25-45 | 20-1-2010
2 | OUTER WING BOTTOM SKIN JOINT STRAP | E-C-K 15 |  |  | OLYMPUS | C3-A-15 |  | YES | A310 57-25-45 | 20-1-2010
3 | TEST PIECE | E-C-K 15 | 99A57204429000 | S00851 | OLYMPUS | C3-A-15 | 1 | YES | A310 57-25-45 | 20-1-2010
METHOD:
LIST OF:
SECTION: C3-A-15

## C3-A-16
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| LONGITUDINAL BEAM FLANGES BET. FR 42 AND FR 46 | E.C -K- 16 | N - A | N - A | TECHNA NDT | C3-A-16 |  | YES | 53-31-81 | 22/4/2014
1 | REFRENCE STANDARD | E.C -K- 16 | 99A53107215000 | 0 37781 | TECHNA NDT | C3-A-16 | 1 | YES | 53-31-81 | 22/4/2014
2 | PROBE 800HZ - 30KHZ | E.C -K- 16 | NEC-4031 | W04739 | OLYMPUS | C3-A-16 | 1 | YES | 53-31-81 | 22/4/2014
METHOD:
LIST OF:
SECTION: C3-A-16

## C3-A-17
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| FAN BLADE L.E | E-C-K-17 |  |  | IAE | C3-A-17 | 1 | YES | EM:72-00-00-200-014 | 2016-09-20
1 | REFERENCE STANDARD | E-C-K-17 | IAE2R19426 | BE 2805 | IAE | C3-A-17-1 | 1 | YES | EM:72-00-00-200-014 | 2016-09-20
2 | DIFFERENTIAL PROBE | E-C-K-17 | IAE2R19425 | EN1005 | IAE | C3-A-17-2 | 1 | YES | EM:72-00-00-200-014 | 2016-09-20
METHOD:
LIST OF:
SECTION: C3-A-17

## C3-B-1
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| FU SELAGE -SECTION 45 HORIZONTAL AND SLOPING PR ESSURE DECK FATIGUE CRACKING | E.C -K-1 |  |  | N.D.T | C3-B-1 |  | YES | 478 | 2005-11-01
1 | PROBE | E.C -K-1 | NEC 1052 | N-A | N.D.T | C3-B-1 | 1 | YES | 478 | 2005-11-01
2 | TEST PIECE | E.C -K-1 | N.D.T 708 | 0 8046396 | N.D.T | C3-B-1 | 1 | YES | 478 | 2005-11-01
METHOD: EDDY CURRENT
LIST OF:
SECTION: C3-B-1

## C3-B-2
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| AFT BLUK HEAD | E.C - K-2 |  |  |  | C3-B-2 |  | YES | 737-500 35-10-54 | 1999-04-03
1 | TEST PIECE | E.C - K-2 | ANDT3016B | 0 9059873 | ENG-CORP | C3-B-2 | 1 | YES | 737-500 35-10-54 | 2005-11-10
2 | PROBE | E.C - K-2 | 9204413 | R07042 | NORTEC | C3-B-2 | 1 | YES | 737-500 35-10-54 | 2009-11-05
METHOD:
LIST OF:
SECTION: C3-B-2
METHOD: EDDY CURRENT

## C3-B-3
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| AFT MOUNT LINK | E.C - K-3 |  |  | P & W | C3-B-3 |  | YES | CF6/ 410 | 1994-02-28
1 | TEST PIECE | E.C - K-3 | PWA 26964A | 0 29418 | P & W | C3-B-3 | 1 | YES | CF6/ 410 | 1994-02-28
METHOD:
LIST OF:
SECTION: C3-B-3
METHOD: EDDY CURRENT

## C3-B-4
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| HORIZONTAL STABLIZER TRIM ACTUAOR ATTACH ARM LUG | E.C - K - 4 |  |  |  | C3-B-4 |  | YES | 55-51-12
1 | PROBE | E.C - K - 4 | MBB51-2 | KD94-H-1618 | P&W | C3-B-4 | 1 | YES | 55-51-12
2 | CABLE | E.C - K - 4 | EK-94-02-1 | N-A | P&W | C3-B-4 | 1 | YES | 55-51-12
METHOD:
LIST OF:
SECTION: C3-B-4
METHOD: EDDY CURRENT

## C3-B-5
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| SLATE 3 SKIN CONNECTION | E.C -K - 5 |  |  |  | C3-B-5 |  | YES | A320 | 2002-02-17
1 | PROBE | E.C -K - 5 | PLA3-11 | 138 | ROHMAN | C3-B-5 | 1 | YES | 57-13-04 | 2002-02-17
METHOD:
LIST OF:
SECTION: C3-B-5
METHOD: EDDY CURRENT

## C3-B-6
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| SCRIBE MARK | E.C -K-6 |  |  |  | C3-B-6 |  | YES | 737-500 GEN. | 2005-02-07
1 | PROBE | E.C -K-6 | NEC 1006 | N-A | ENG. -CORP | C3-B-6 | 1 | YES | 737-500 GEN. | 2005-02-07
2 | TRANS DUCER | E.C -K-6 | XAB 6087 | 0 44005 | ENG. -CORP | C3-B-6 | 1 | YES | 737-500 GEN. | 2005-02-07
3 | TEST PIECE | E.C -K-6 | NDT 3065 | 0 2044830 | ENG. -CORP | C3-B-6 | 1 | YES | 737-500 GEN. | 2005-02-07
LIST OF:
SECTION: C3-B-6
METHOD: EDDY CURRENT
METHOD: EDDY CURRENT
METHOD: EDDY CURRENT
METHOD: EDDY CURRENT
METHOD: EDDY CURRENT

## C3-B-7
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| FUSELOGE SKIN AT- CIRCUMFRENIIAL SPLICE | E.C - K - 7 |  |  |  | C3-B-7 |  | YES | 53-19-24 | 2005-02-02
1 | PROBE | E.C - K - 7 | PKA 34-18 | 133 | POHMANN | C3-B-7 | 1 | YES | 53-19-24 | 2005-02-02
2 | TEST PIECE | E.C - K - 7 | 99A53107290000 | 0 1057786 | N.D.T | C3-B-7 | 1 | YES | 53-19-24 | 2005-02-02
METHOD:
LIST OF:
SECTION: C3-B-7
METHOD: EDDY CURRENT

## C3-B-8
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| APU PLEED AIR TUBE IN AFT HEAD AT FR 80/82 | E.C -K 8 |  |  |  | C3-B-8 |  | YES | A600 53-19-27 53-19-21 | 2005-02-02
1 | PROBE | E.C -K 8 | MDK 3H-1178 | 5008 | POHMANN | C3-B-8 | 2 | YES | A600 53-19-27 53-19-21 | 2005-02-02
2 | PROBE | E.C -K 8 | KD20H1182 | 5006 | POHMANN | C3-B-8 | 1 | YES | A600 53-19-27 53-19-21 | 2005-02-02
3 | PROBE | E.C -K 8 | MBB403-7-1 | 5011 | MBB | C3-B-8 | 1 | YES | A600 53-19-27 53-19-21 | 2005-02-03
4 | TEST PIECE | E.C -K 8 | 99A53107265001 | 0 1057874 | ENG.CORP. | C3-B-8 | 1 | YES | A600 53-19-27 53-19-21 | 2005-02-04
5 | CABLE | E.C -K 8 | EK-2-HF/1 | N-A | POHMANN | C3-B-8 | 1 | YES | A600 53-19-27 53-19-21 | 2012-02-02
METHOD:
LIST OF:
SECTION: C3-B-8
METHOD: EDDY CURRENT

## C3-B-9
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| FUSELAGE SKIN INSPAT LONGITUDINAL ROWS | E.C- K 9 |  |  |  | C3-B-9 |  | YES-9 | B747 S.B 53A- 2409 | 2002-07-16
1 | PROBE | E.C- K 9 | SPO 3806 | H02106 | STAVELY | C3-B-9 | 1 | YES-9 | B747 S.B 53A- 2409 | 2002-07-16
2 | PROBE | E.C- K 9 | SPO 3993 | G03450 | STAVELY | C3-B-9 | 1 | YES-9 | B747 S.B 53A- 2409 | 2002-07-16
3 | TEST PIECE | E.C- K 9 | 4057 | 0 4032289 | ENG.CORP | C3-B-9 | 1 | YES-9 | B747 S.B 53A- 2409 | 2002-07-16
LIST OF:
SECTION: C3-B-9
METHOD: EDDY CURRENT

## C3-B-10
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| FUSELA GE-FLOOR BODY HEAD AT FR 80/82 | E.C -K-10 |  |  | ENG-CORP | C3-B-10 |  | YES-10 | 385 | 2001-03-03
1 | PROBE | E.C -K-10 | RS1005-2/ TF | N-A | ENG. -CORP | C3-B-10 | 1 | YES-10 | 385 | 2001-03-03
2 | TEST PIECE | E.C -K-10 | NDT 713 | 0 2016388 | ENG. -CORP | C3-B-10 | 1 | YES-10 | 385 | 2001-03-03
3 | CABLE | E.C -K-10 | 9113429.00 | G03390 | ENG. -CORP | C3-B-10 | 1 | YES-10 | 385 | 2001-03-03
LIST OF:
SECTION: C3-B-10
METHOD: EDDY CURRENT

## C3-B-11
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| MAINI WHEEL DRUM | E.C-K-11 |  |  | NORTEC | C3-B-11 |  | YES |  | 2001-11-03
| EMPTY |  |  | EMPTY
1 | TEST PIECE | E.C-K-11 | SRS-357A/2024-T3 | 0 5045563 | NORTEC | C3-B-11 | 1 | YES | GEN. | 2001-11-03
2 | TEST PIECE (NF) | E.C-K-11 | RSRS-357A / 7050T7 | 11047370 | NDT.ENG. | C3-B-11 | 1 | YES | GEN. | 2007-03-21
LIST OF:
SECTION: C3-B-11
METHOD: EDDY CURRENT

## C3-B-12
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| FWD PAX/CREW DOOR | E.C-K-12 |  |  |  | C3-B-12
1 | PROBE | E.C-K-12 | PLA 32-16 | 271 | ROHMAN | C3-B-12 | 1 | YES | 52-11-04 | 2007-06-05
2 | TEST PIECE | E.C-K-12 | 99D52103001000 | 0 6075025 | NDT.ENG. | C3-B-12 | 1 | YES | 52-11-04 | 2007-06-05
LIST OF:
SECTION: C3-B-12
METHOD: EDDY CURRENT

## C3-B-13
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| FUSELAGE CIRCONFEREMCUAL BUTT JOINT AT FR38 FROM CENTER LINE TO ST.8 | E.C-K-13 |  |  | N.D.T | C3-B-13 |  | YES | 53-30-19 | 28/4/2010
1 | TEST PIECE | E.C-K-13 | 99F53303030000 | NDTE870 | AND | C3-B-13 | 1 | YES | 53-30-19 | 28/4/2010
LIST OF:
SECTION: C3-B-13
METHOD: EDDY CURRENT

## C3-B-14
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| FWD FUSELAGE UPPER SKIN PANEL EXTERNAL | E.C-K-14 | N - A | N - A | TECHNA NDT | C3-B-14 | 1 | YES | 53-10-00-250-810-A | 2015-08-17
1 | REF. STANDARD | E.C-K-14 | NDT2689 | 0 43742 | TECHNA NDT | C3-B-14 | 1 | YES | 53-10-00-250-810-A | 2015-08-17
LIST OF:
SECTION: C3-B-14
METHOD: EDDY CURRENT

## C3-B-15
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| SEC. 48 B.S 1809.5 BLKHD OUTER CHORD | E.C-K-15 | N - A | N - A | TECHNA NDT | C3-B-15 | 1 | YES | 53-80-04 SB.53A0078R06 | 2016-04-13
1 | RING PROBE 50HZ - 5KHZ | E.C-K-15 | RDP.9-100H-5 | 48015 | TECHNA NDT | C3-B-15 | 1 | YES | 53-80-04 SB.53A0078R06 | 2016-04-13
2 | RING PROBE 100HZ - 8KHZ | E.C-K-15 | TEK-3006-3 | 48016 | TECHNA NDT | C3-B-15 | 1 | YES | 53-80-04 SB.53A0078R06 | 2016-04-13
3 | H.F PROBE 90° , 50-500KHZ | E.C-K-15 | TPENFLX902-7 | 48017 | TECHNA NDT | C3-B-15 | 1 | YES | 53-80-04 SB.53A0078R06 | 2016-04-13
4 | REFLECTION CABLE | E.C-K-15 | N16-T6-R | 48018 | TECHNA NDT | C3-B-15 | 1 | YES | 53-80-04 SB.53A0078R06 | 2016-04-13
5 | BRIDGE CABLE | E.C-K-15 | N16-T6-B | 48019 | TECHNA NDT | C3-B-15 | 1 | YES | 53-80-04 SB.53A0078R06 | 2016-04-13
6 | REFLECTION CABLE | E.C-K-15 | B1-T6-R | 48020 | TECHNA NDT | C3-B-15 | 1 | YES | 53-80-04 SB.53A0078R06 | 2016-04-13
7 | BRIDGE CABLE | E.C-K-15 | B1-T6-B | 48021 | TECHNA NDT | C3-B-15 | 1 | YES | 53-80-04 SB.53A0078R06 | 2016-04-13
8 | REF. STANDARD | E.C-K-15 | NDT 660 | 48037 | TECHNA NDT | C3-B-15 | 1 | YES | 53-80-04 SB.53A0078R06 | 2016-04-13
LIST OF:
SECTION: C3-B-15
METHOD: EDDY CURRENT

## C3-C-1
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| EXTERNAL FUSELAGE REPAIR | EC -CK-1-C |  |  | ENG-CORP. | C3-C-1 |  | YES | 747 53-30-30 | 2000-02-23
1 | TEST PIECE | E -CK-1 | ANDT 1015 | 2044644 | ENG-CORP. | C3-C-1 | 1 | YES | E.O 475 53-30-30 | 2000-02-23
2 | TEST PIECE | E -CK-1 | ANDT1050 | 1044627 | ENG-CORP. | C3-C-1 | 1 | YES | E.O 475 53-30-30 | 2000-02-23
3 | TEST PIECE | E -CK-1 | ANDT 1049 | 1044578 | ENG-CORP. | C3-C-1 | 1 | YES | E.O 475 53-30-30 | 2000-02-23
4 | TEST PIECE | E -CK-1 | ANDT 1051 | 1044601 | ENG-CORP. | C3-C-1 | 1 | YES | E.O 475 53-30-30 | 2000-02-23
5 | TEST PIECE | E -CK-1 | ANDT 1052 | 1044577 | ENG-CORP. | C3-C-1 | 1 | YES | E.O 475 53-30-30 | 2000-02-23
6 | TEST PIECE | E -CK-1 | ANDT 1053 | 1044628 | ENG-CORP. | C3-C-1 | 1 | YES | E.O 475 53-30-30 | 2000-02-23
7 | TEST PIECE | E -CK-1 | ANDT 1054 | 1044602 | ENG-CORP. | C3-C-1 | 1 | YES | E.O 475 53-30-30 | 2000-02-23
8 | TEST PIECE | E -CK-1 | ANDT 1055 | 1044629 | ENG-CORP. | C3-C-1 | 1 | YES | E.O 475 53-30-30 | 2000-02-23
9 | TEST PIECE | E -CK-1 | ANDT 1056 | 1044630 | ENG-CORP. | C3-C-1 | 1 | YES | E.O 475 53-30-30 | 2000-02-23
10 | TEST PIECE | E -CK-1 | ANDT 1057 | 1044631 | ENG-CORP. | C3-C-1 | 1 | YES | E.O 475 53-30-30 | 2000-02-23
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
11 | TEST PIECE | EC-CK-1 | ANDT 1077 | 1044632 | ENG-CORP. | C3-C-1 | 1 | YES | E.O 475 53-30-30 | 2000-02-23
12 | PROBE | EC-CK-1 | SPO5330 | K00357 | NORTEC | C3-C-1 | 1 | YES | E.O 475 53-30-30 | 2000-02-23
METHOD: EDDY CURRENT
LIST OF:
SECTION: C3-C-1
METHOD: EDDY CURRENT
LIST OF:
SECTION: C3-C-1

## C3-C-2
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| FIRST STAGE FAN HUB | E-CK-2-C |  |  | P&W | C3-C-2 |  | YES | JT8D NDIP 767 | 1993-04-28
1 | PROBE | E-CK-2 | PWA 47929 | 79 | P&W | C3-C-2 | 1 | YES | JT8D NDIP 767 | 1993-04-28
2 | TEST PIECE | E-CK-2 | PWA 47930 | 49316 | P&W | C3-C-2 | 1 | YES | JT8D NDIP 767 | 1993-04-28
METHOD:
LIST OF:
SECTION: C3-C-2
METHOD: EDDY CURRENT

## C3-C-3
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| 4TH STAGE LPTHUB JT 8D | EC -K-3-C |  |  | P&W | C3-C-3 |  | YES | NDIP 889 | 1997-02-11
1 | PROBE | EC -K-3 | PWA 102140-1 | N-A | P&W | C3-C-3 | 1 | YES | NDIP 889 | 1997-02-11
2 | PROBE | EC -K-3 | PWA 102140-2 | N-A | P&W | C3-C-3 | 1 | YES | NDIP 889 | 1997-02-11
3 | TEST PIECE | EC -K-3 | PWA 102141 | 119633 | P&W | C3-C-3 | 1 | YES | NDIP 889 | 1997-02-11
4 | GUIDE | EC -K-3 | PWA 102142-1 | N-A | P&W | C3-C-3 | 1 | YES | NDIP 889 | 1997-02-11
5 | GUIDE | EC -K-3 | PWA 102142-5 | N-A | P&W | C3-C-3 | 1 | YES | NDIP 889 | 1997-02-11
6 | GUIDE | EC -K-3 | PWA 102142-7 | N-A | P&W | C3-C-3 | 1 | YES | NDIP 889 | 1997-02-11
7 | GUIDE | EC -K-3 | PWA 102143-1 | N-A | P&W | C3-C-3 | 1 | YES | NDIP 889 | 1997-02-11
8 | GUIDE | EC -K-3 | PWA 102143-5 | N-A | P&W | C3-C-3 | 1 | YES | NDIP 889 | 1997-02-11
9 | GUIDE | EC -K-3 | PWA 102143-7 | N-A | P&W | C3-C-3 | 1 | YES | NDIP 889 | 1997-02-11
METHOD:
LIST OF:
SECTION: C3-C-3
METHOD: EDDY CURRENT

## C3-C-4
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| FUSELAGE SKIN AT FR13 CIRCUMFERNTIAL JOINT FROM STRG 9 REAR STRG25 | E-CK-4-C |  |  |  | C3-C-4 |  | YES | A600 53-12-25 | 2005-02-03
1 | PROBE | E-CK | MDK 1-23 | 179 | ROHMAN | C3-C-4 | 1 | YES | A600 53-12-25 | 2005-02-03
2 | TEST PIECE | E-CK-4 | 99A53403005001 | 1057837 | NDT ENG | C3-C-4 | 1 | YES | A600 53-12-25 | 2005-02-03
3 | TEST PIECE | E-CK-4 | 99A53403004001 | 12057721 | NDT ENG | C3-C-4 | 1 | YES | A600 53-12-25 | 2005-02-03
METHOD:
LIST OF:
SECTION: C3-C-4
METHOD: EDDY CURRENT

## C3-C-5
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| B 777 FLIGHT COMPART MENT | E -K-5-C |  |  |  | C3-C-5 |  | YES | 53-10-03
1 | PROBE | E -K-5 | SPO- 3806 | LO6680 | NORTEC | C3-C-5 | 1 | YES | 53-10-03
2 | TEST PIECE | E -K-5 | NDT 714 | 10050079 | N.D.T | C3-C-5 | 1 | YES | 53-10-03
METHOD:
LIST OF:
SECTION: C3-C-5
METHOD: EDDY CURRENT

## C3-C-6
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
OUTER WING BOTTOM SKIN MASHED
1 | TEST PIECE | E-CK | 99F57204140000 | S02130 | N.D.T ENG | C3-C-6 | 1 | YES | A340 55-20-2 | 30/5/2010
LIST OF:
SECTION: C3-C-6
METHOD: EDDY CURRENT
METHOD: EDDY CURRENT
METHOD: EDDY CURRENT
METHOD: EDDY CURRENT
METHOD: EDDY CURRENT

## C3-C-7
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
SPLICE PLATE AT SPLICE BETWEEN FR 53.6 TO 53.7
1 | TEST PIECE | E-CK | 99F53307305001 | TI5933 | TECHNA-N.D.T | C3-C-7 | 1 | YES | A340 53-31-81 | 23-11-2011
METHOD:
LIST OF:
SECTION: C3-C-7
METHOD: EDDY CURRENT

## C3-C-8
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
ADDITIONAL CENTER TANK A321
1 | BRIDGE PROBE | E-CK | KDB-7H-1658.03.1 | A00EU8 | ROHMANN | C3-C-8 | 1 | YES | A321 28-28-03 | 2014-03-01
2 | TEST PIECE | E-CK | 99N28207315000 | 0 37368 | TECN NDT | C3-C-8 | 1 | YES | A321 28-28-03 | 2014-07-01
METHOD:
LIST OF:
SECTION: C3-C-8
METHOD: EDDY CURRENT

## C3-C-9
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
1 | AIRBUS STANDARD | E.C-K | 99D53207304000 | 0 40906 | TECHNA | C3-C-9 | 1 | YES | A320 53-21-81 | 2015-12-31
LIST OF:
SECTION: C3-C-9
METHOD: EDDY CURRENT

## C3-C-10
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| SKIN FUSELAGE NOSE SECTION FR 13 | E.C-K |  |  | TECHNA NDT | C3-C-10 |  | YES | A300-600 53-12-25 A330 53-11-88 | 2016-11-11
1 | TEST STANDARD | E.C-K | 99F53103000000 | 0 52235 | TECHNA NDT | C3-C-10 | 1 | YES | A300-600 53-12-25 A330 53-11-88 | 2016-11-11
2 | TEST STANDARD | E.C-K | 99F53303018000 | 0 52236 | TECHNA NDT | C3-C-10 | 1 | YES | A300-600 53-12-25 A330 53-11-88 | 2016-11-11
LIST OF:
SECTION: C3-C-10
METHOD: EDDY CURRENT

## C3-D-1
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| ANGLE PROBE (NFE) | E -CK-1 | 2.835-99-2100 | 1120 | FOERSTER | C3-D-1 | 1 | YES | GEN | 2004-01-11
| ANGLE PROBE (NFE) | E -CK-1 | 2.835-99-2100 | 1119 | FOERSTER | C3-D-1 | 1 | YES | GEN | 2010-05-07
| ANGLE PROBE (NFE) | E -CK-1 | 2.835-99-2100 | 1399 | FOERSTER | C3-D-1 | 1 | YES | GEN | 2004-01-11
| PENCIL PROBE (NFE) | E -CK-1 | 2-835-01-2000 | 220 | FOERSTER | C3-D-1 | 1 | YES | GEN | 2000-05-10
| TEST PIECE (NFE) | 45N0034 | 2.164.551 | 1330 | FOERSTER | C3-D-1 | 1 | YES | GEN | 2004-01-11
| CABLE | EC-CK | 2.837.01.1460188 | N/A | FOERSTER | C3-D-1 | 1 | YES | GEN | 2004-01-11
METHOD: EDDY CURRENT
LIST OF:
SECTION: C3-D-1

## C3-D-2
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| SLAT 2 TRACK 5 & 6 |  |  |  |  | C3-D-2
1 | PROBE | EC -CK | 610-077-005 | 024KDW | GE TECHN. | C3-D-2 | 1 | YES | 57-44-01 | 18-12-2011
2 | PROBE | EC -CK | 815P206A | GEIT-94 | GE TECHN. | C3-D-2 | 1 | YES | 57-44-01 | 18-12-2011
3 | PROBE | EC -CK | 815P206B | GEIT-239 | GE TECHN. | C3-D-2 | 1 | YES | 57-44-01 | 18-12-2011
METHOD:
LIST OF:
SECTION: C3-D-2
METHOD: EDDY CURRENT

## C3-D-3
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| 2ND STAGE HPTAIRE SEAL WEEP HOLE | EC-K-D-3 |  |  | P&W | C3-D-3 |  | YES | B777 PWA 4000 | 2003-04-29
1 | ROTATING PROBE | EC-K-D-3 | PWA104513 | G0103 | P&W | C3-D-3-1 | 1 | YES | 944 | 2003-04-29
2 | ROTATING PROBE | EC-K-D-3 | PWA104513 | G0098 | P&W | C3-D-3-2 | 1 | YES | 944 | 2003-04-29
3 | ROTATING PROBE | EC-K-D-3 | PWA104514 | G0109 | P&W | C3-D-3-3 | 1 | YES | 944 | 2003-04-29
4 | ROTATING PROBE | EC-K-D-3 | PWA104514 | G0114 | P&W | C3-D-3-4 | 1 | YES | 944 | 2003-04-29
5 | PROBE | EC-K-D-3 | PWA76228B | 0 7P0800 | P&W | C3-D-3-5 | 1 | YES | 944 | 2003-04-29
6 | PROBE | EC-K-D-3 | PWA76228B | 14P0800 | P&W | C3-D-3-6 | 1 | YES | 944 | 2003-04-29
7 | TEST PIECE | EC-K-D-3 | PWA1 04515 | 7005 | P&W | C3-D-3-7 | 1 | YES | 944 | 2003-04-29
METHOD:
LIST OF:
SECTION: C3-D-3
METHOD: EDDY CURRENT

## C3-D-4
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| ENGINE - HP COMPRESSOR STAGE 4 ROTOR INSPECTION OF BLADE L / E | EC -K-4-D | IAE2R19778 | N-A | ROLLS- RAYCE | C3-D-4 |  | YES | 72-0484 | 2005-02-05
1 | EDDY CURRENT PROBE ASSY. | E -K-4 | IAE 2R19780 | BE 1120 | ROLLS- RAYCE | C3-D-4-1 | 1 | YES | 72-0484 | 2005-02-05
2 | ULTRASONIC PROBE ASSY. | E -K-4 | IAE2R19779 | BE 1119 | ROLLS- RAYCE | C3-D-4-2 | 1 | YES | 72-0484 | 2005-02-05
3 | TEST PIECE | E -K-4 | IAE2R19781 | BE 1129 | ROLLS- RAYCE | C3-D-4-3 | 1 | YES | 72-0484 | 2005-02-05
4 | GUIDE | E -K-4 | IAE2R19753 | N-A | ROLLS- RAYCE | C3-D-4-4 | 1 | YES | 72-0484 | 2005-02-05
5 | WATER FEED BOTTLE | E -K-4 | IAE2R19782 | N-A | ROLLS- RAYCE | C3-D-4-5 | 1 | YES | 72-0484 | 2005-02-05
6 | ADAPTOR | E -K-4 | SPO - 2419 | N-A | ROLLS- RAYCE | C3-D-4-6 | 1 | YES | 72-0484 | 2005-02-05
7 | WATER HOSE | E -K-4 | N - A | N-A | ROLLS- RAYCE | C3-D-4-7 |  | YES | 72-0484 | 2005-02-05
METHOD:
LIST OF:
SECTION: C3-D-4
METHOD: EDDY CURRENT

## C3-D-5
NO. | DESCRIPITON | ID-No. | P/N | S/N | MANUF. | LOC | QTY | KIT | REF./NTM | RECV.DA
| SPLICE PLATE AT THE CIRCUM FREE NLID | EC -CK |  |  |  | C3-D-5 |  | YES | S.B 72-484 | 2005-02-03
1 | TEST PIECE | E -CK | 99A53403003001 | 0 1057734 | NDT ENG. | C3-D-5 | 1 | YES | S.B 72-484 | 2005-02-03
2 | TEST PIECE | E -CK | 98A53803014001 | 12057722 | NDT ENG. | C3-D-5 | 1 | YES | S.B 72-484 | 2005-02-03
3 | CABLE | E -CK | 9116185.00 | N-A | NORTEC | C3-D-5 | 1 | YES | S.B 72-484 | 2005-02-03
METHOD:
LIST OF:
SECTION: C3-D-5
METHOD: EDDY CURRENT